## Slide 1
process
(plant)
Σ
input
(set point)
+
-
output
feedback
Σ
proportional
integral
derivative
+
+
+
PID controller

## Slide 2
process
(plant)
Σ
input
(set point)
+
-
output
feedback
Σ
proportional
integral
derivative
+
+
+
PID controller

## Slide 3
process
(plant)

## Slide 4
process
(plant)
input
signal

## Slide 5
process
(plant)
output
input
signal

## Slide 13
process
(plant)
output
input
signal

## Slide 14
process
(plant)
output
input
signal

## Slide 15
process
(plant)
output
input
signal
accelerator
position

## Slide 16
process
(plant)
output
input
signal
accelerator
position
speed

## Slide 17
accelerator
position
speed
goal:
maintain speed

## Slide 18
accelerator
position
speed
goal:
maintain speed
controller

## Slide 19
accelerator
position
speed
goal:
maintain speed
controller

## Slide 20
accelerator
position
speed
goal:
maintain speed
controller

## Slide 21
accelerator
position
speed
goal:
maintain speed
controller
closed-loop system

## Slide 22
accelerator
position
speed
goal:
maintain speed
controller
closed-loop system

## Slide 23
process
(plant)
input
(set point)
output
controller
controller
output

## Slide 24
process
(plant)
input
(set point)
output
controller
controller
output
goal:
maintain speed

## Slide 25
process
(plant)
input
(set point)
output
controller
controller
output
goal:
maintain speed
accelerator
position

## Slide 26
process
(plant)
input
(set point)
output
controller
controller
output
goal:
maintain speed
accelerator
position
speed

## Slide 27
process
(plant)
input
(set point)
output
controller
controller
output
goal:
maintain speed
accelerator
position
speed
open-loop system

## Slide 28
process
(plant)
Σ
input
(set point)
+
-
output
feedback
controller
error
controller
output
closed-loop system

## Slide 29
process
(plant)
Σ
input
(set point)
+
-
output
feedback
controller
error
controller
output
closed-loop system

## Slide 30
process
(plant)
Σ
input
(set point)
+
-
output
feedback
controller
error
controller
output
closed-loop system

## Slide 31
process
(plant)
Σ
input
(set point)
+
-
output
feedback
proportional
P controller

## Slide 32
process
(plant)
Σ
input
(set point)
+
-
output
feedback
proportional
P controller
desired
position
(10 km)

## Slide 33
process
(plant)
Σ
input
(set point)
+
-
output
feedback
proportional
P controller
desired
position
(10 km)
position

## Slide 34
process
(plant)
Σ
input
(set point)
+
-
output
feedback
proportional
P controller
desired
position
(10 km)
distance to
goal [km]
position

## Slide 35
process
(plant)
Σ
input
(set point)
+
-
output
feedback
proportional
P controller
desired
position
(10 km)
distance to
goal [km]
speed
[km/h]
position

## Slide 36
0
10 km
Position [km] | e(t) | Kp·e(t)

## Slide 37
0
10 km
Position [km] | e(t) | Kp·e(t)
0 | 10 - 0 = 10 | 5 · 10 = 50 km/h

## Slide 38
0
10 km
Position [km] | e(t) | Kp·e(t)
0 | 10 - 0 = 10 | 5 · 10 = 50 km/h
3 | 10 - 3 = 7 | 5 · 7 = 35 km/h

## Slide 39
0
10 km
Position [km] | e(t) | Kp·e(t)
0 | 10 - 0 = 10 | 5 · 10 = 50 km/h
3 | 10 - 3 = 7 | 5 · 7 = 35 km/h
5 | 10 - 5 = 5 | 5 · 5 = 25 km/h

## Slide 40
0
10 km
Position [km] | e(t) | Kp·e(t)
0 | 10 - 0 = 10 | 5 · 10 = 50 km/h
3 | 10 - 3 = 7 | 5 · 7 = 35 km/h
5 | 10 - 5 = 5 | 5 · 5 = 25 km/h
7 | 10 - 7 = 3 | 5 · 3 = 15 km/h

## Slide 41
0
10 km
Position [km] | e(t) | Kp·e(t)
0 | 10 - 0 = 10 | 5 · 10 = 50 km/h
3 | 10 - 3 = 7 | 5 · 7 = 35 km/h
5 | 10 - 5 = 5 | 5 · 5 = 25 km/h
7 | 10 - 7 = 3 | 5 · 3 = 15 km/h
8 | 10 - 8 = 2 | 5 · 2 = 10 km/h

## Slide 42
0
10 km
Position [km] | e(t) | Kp·e(t)
0 | 10 - 0 = 10 | 5 · 10 = 50 km/h
3 | 10 - 3 = 7 | 5 · 7 = 35 km/h
5 | 10 - 5 = 5 | 5 · 5 = 25 km/h
7 | 10 - 7 = 3 | 5 · 3 = 15 km/h
8 | 10 - 8 = 2 | 5 · 2 = 10 km/h
9 | 10 - 9 = 1 | 5 · 1 = 5 km/h

## Slide 43
0
10 km
Position [km] | e(t) | Kp·e(t)
0 | 10 - 0 = 10 | 5 · 10 = 50 km/h
3 | 10 - 3 = 7 | 5 · 7 = 35 km/h
5 | 10 - 5 = 5 | 5 · 5 = 25 km/h
7 | 10 - 7 = 3 | 5 · 3 = 15 km/h
8 | 10 - 8 = 2 | 5 · 2 = 10 km/h
9 | 10 - 9 = 1 | 5 · 1 = 5 km/h
10 | 10 - 10 = 0 | 5 · 0 = 0 km/h

## Slide 44
0
10 km
t
Position [km] | e(t) | Kp·e(t)
0 | 10 - 0 = 10 | 5 · 10 = 50 km/h
3 | 10 - 3 = 7 | 5 · 7 = 35 km/h
5 | 10 - 5 = 5 | 5 · 5 = 25 km/h
7 | 10 - 7 = 3 | 5 · 3 = 15 km/h
8 | 10 - 8 = 2 | 5 · 2 = 10 km/h
9 | 10 - 9 = 1 | 5 · 1 = 5 km/h
10 | 10 - 10 = 0 | 5 · 0 = 0 km/h
0
t
0
speed [km/h]
10
50
Kp=5
Kp=5

## Slide 45
0
10 km
t
Position [km] | e(t) | Kp·e(t)
0 | 10 - 0 = 10 | 5 · 10 = 50 km/h
3 | 10 - 3 = 7 | 5 · 7 = 35 km/h
5 | 10 - 5 = 5 | 5 · 5 = 25 km/h
7 | 10 - 7 = 3 | 5 · 3 = 15 km/h
8 | 10 - 8 = 2 | 5 · 2 = 10 km/h
9 | 10 - 9 = 1 | 5 · 1 = 5 km/h
10 | 10 - 10 = 0 | 5 · 0 = 0 km/h
0
t
0
speed [km/h]
10
50
Kp=5
Kp=2
Kp=5
Kp=2

## Slide 46
0
10 km
t
Position [km] | e(t) | Kp·e(t)
0 | 10 - 0 = 10 | 5 · 10 = 50 km/h
3 | 10 - 3 = 7 | 5 · 7 = 35 km/h
5 | 10 - 5 = 5 | 5 · 5 = 25 km/h
7 | 10 - 7 = 3 | 5 · 3 = 15 km/h
8 | 10 - 8 = 2 | 5 · 2 = 10 km/h
9 | 10 - 9 = 1 | 5 · 1 = 5 km/h
10 | 10 - 10 = 0 | 5 · 0 = 0 km/h
0
t
0
speed [km/h]
10
50
Kp=5
Kp=10
Kp=2
Kp=5
Kp=10
Kp=2

## Slide 47
set point: 100 km/h

## Slide 48
set point: 100 km/h
accelerator position: 0..10 cm

## Slide 49
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm

## Slide 50
Speed [km/h] | e(t) | Kp·e(t)
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm

## Slide 51
Speed [km/h] | e(t) | Kp·e(t)
0 | 100 - 0 = 100 | 0.1 · 100 = 10 cm
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm

## Slide 52
Speed [km/h] | e(t) | Kp·e(t)
0 | 100 - 0 = 100 | 0.1 · 100 = 10 cm
30 | 100 - 30 = 70 | 0.1 · 70 = 7 cm
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm

## Slide 53
Speed [km/h] | e(t) | Kp·e(t)
0 | 100 - 0 = 100 | 0.1 · 100 = 10 cm
30 | 100 - 30 = 70 | 0.1 · 70 = 7 cm
50 | 100 - 50 = 50 | 0.1 · 50 = 5 cm
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm

## Slide 54
Speed [km/h] | e(t) | Kp·e(t)
0 | 100 - 0 = 100 | 0.1 · 100 = 10 cm
30 | 100 - 30 = 70 | 0.1 · 70 = 7 cm
50 | 100 - 50 = 50 | 0.1 · 50 = 5 cm
60 | 100 - 60 = 40 | 0.1 · 40 = 4 cm
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm

## Slide 55
Speed [km/h] | e(t) | Kp·e(t)
0 | 100 - 0 = 100 | 0.1 · 100 = 10 cm
30 | 100 - 30 = 70 | 0.1 · 70 = 7 cm
50 | 100 - 50 = 50 | 0.1 · 50 = 5 cm
60 | 100 - 60 = 40 | 0.1 · 40 = 4 cm
60 | 100 - 60 = 40 | 0.1 · 40 = 4 cm
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm

## Slide 56
Speed [km/h] | e(t) | Kp·e(t)
0 | 100 - 0 = 100 | 0.1 · 100 = 10 cm
30 | 100 - 30 = 70 | 0.1 · 70 = 7 cm
50 | 100 - 50 = 50 | 0.1 · 50 = 5 cm
60 | 100 - 60 = 40 | 0.1 · 40 = 4 cm
60 | 100 - 60 = 40 | 0.1 · 40 = 4 cm
⋮ | ⋮ | ⋮
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm

## Slide 57
t
Speed [km/h] | e(t) | Kp·e(t)
0 | 100 - 0 = 100 | 0.1 · 100 = 10 cm
30 | 100 - 30 = 70 | 0.1 · 70 = 7 cm
50 | 100 - 50 = 50 | 0.1 · 50 = 5 cm
60 | 100 - 60 = 40 | 0.1 · 40 = 4 cm
60 | 100 - 60 = 40 | 0.1 · 40 = 4 cm
⋮ | ⋮ | ⋮
0
t
0
speed [km/h]
100
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm

## Slide 58
t
Speed [km/h] | e(t) | Kp·e(t)
0 | 100 - 0 = 100 | 0.1 · 100 = 10 cm
30 | 100 - 30 = 70 | 0.1 · 70 = 7 cm
50 | 100 - 50 = 50 | 0.1 · 50 = 5 cm
60 | 100 - 60 = 40 | 0.1 · 40 = 4 cm
60 | 100 - 60 = 40 | 0.1 · 40 = 4 cm
⋮ | ⋮ | ⋮
0
t
0
speed [km/h]
100
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
steady-state
error

## Slide 59
process
(plant)
Σ
input
(set point)
+
-
output
feedback
proportional
P controller

## Slide 60
process
(plant)
Σ
input
(set point)
+
-
output
feedback
Σ
proportional
integral
+
+
PI controller

## Slide 61
t
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm

## Slide 62
t
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm

## Slide 63
t
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm

## Slide 64
t
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
1

## Slide 65
t
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
1

## Slide 66
t
Speed [km/h] | e(t) | Kp·e(t) Kp=0.1 | Ki·Σe(t) Ki=0.01 | Sum
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
1

## Slide 67
t
Speed [km/h] | e(t) | Kp·e(t) Kp=0.1 | Ki·Σe(t) Ki=0.01 | Sum
0 | 100 | 10.0 cm | 0.01 · 100 = 1.0 cm | 11 cm
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
1

## Slide 68
t
Speed [km/h] | e(t) | Kp·e(t) Kp=0.1 | Ki·Σe(t) Ki=0.01 | Sum
0 | 100 | 10.0 cm | 0.01 · 100 = 1.0 cm | 11 cm
30 | 70 | 7.0 cm | 0.01 · 170 = 1.7 cm | 8.7 cm
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
1

## Slide 69
t
Speed [km/h] | e(t) | Kp·e(t) Kp=0.1 | Ki·Σe(t) Ki=0.01 | Sum
0 | 100 | 10.0 cm | 0.01 · 100 = 1.0 cm | 11 cm
30 | 70 | 7.0 cm | 0.01 · 170 = 1.7 cm | 8.7 cm
50 | 50 | 5.0 cm | 0.01 · 220 = 2.2 cm | 7.2 cm
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
1

## Slide 70
t
Speed [km/h] | e(t) | Kp·e(t) Kp=0.1 | Ki·Σe(t) Ki=0.01 | Sum
0 | 100 | 10.0 cm | 0.01 · 100 = 1.0 cm | 11 cm
30 | 70 | 7.0 cm | 0.01 · 170 = 1.7 cm | 8.7 cm
50 | 50 | 5.0 cm | 0.01 · 220 = 2.2 cm | 7.2 cm
70 | 30 | 3.0 cm | 0.01 · 250 = 2.5 cm | 5.5 cm
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
1

## Slide 71
t
Speed [km/h] | e(t) | Kp·e(t) Kp=0.1 | Ki·Σe(t) Ki=0.01 | Sum
0 | 100 | 10.0 cm | 0.01 · 100 = 1.0 cm | 11 cm
30 | 70 | 7.0 cm | 0.01 · 170 = 1.7 cm | 8.7 cm
50 | 50 | 5.0 cm | 0.01 · 220 = 2.2 cm | 7.2 cm
70 | 30 | 3.0 cm | 0.01 · 250 = 2.5 cm | 5.5 cm
80 | 20 | 2.0 cm | 0.01 · 270 = 2.7 cm | 4.7 cm
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
1

## Slide 72
t
Speed [km/h] | e(t) | Kp·e(t) Kp=0.1 | Ki·Σe(t) Ki=0.01 | Sum
0 | 100 | 10.0 cm | 0.01 · 100 = 1.0 cm | 11 cm
30 | 70 | 7.0 cm | 0.01 · 170 = 1.7 cm | 8.7 cm
50 | 50 | 5.0 cm | 0.01 · 220 = 2.2 cm | 7.2 cm
70 | 30 | 3.0 cm | 0.01 · 250 = 2.5 cm | 5.5 cm
80 | 20 | 2.0 cm | 0.01 · 270 = 2.7 cm | 4.7 cm
80 | 20 | 2.0 cm | 0.01 · 290 = 2.9 cm | 4.9 cm
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
1

## Slide 73
t
Speed [km/h] | e(t) | Kp·e(t) Kp=0.1 | Ki·Σe(t) Ki=0.01 | Sum
0 | 100 | 10.0 cm | 0.01 · 100 = 1.0 cm | 11 cm
30 | 70 | 7.0 cm | 0.01 · 170 = 1.7 cm | 8.7 cm
50 | 50 | 5.0 cm | 0.01 · 220 = 2.2 cm | 7.2 cm
70 | 30 | 3.0 cm | 0.01 · 250 = 2.5 cm | 5.5 cm
80 | 20 | 2.0 cm | 0.01 · 270 = 2.7 cm | 4.7 cm
80 | 20 | 2.0 cm | 0.01 · 290 = 2.9 cm | 4.9 cm
⋮ | ⋮ | ⋮ | ⋮ | ⋮
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
1

## Slide 74
t
Speed [km/h] | e(t) | Kp·e(t) Kp=0.1 | Ki·Σe(t) Ki=0.01 | Sum
0 | 100 | 10.0 cm | 0.01 · 100 = 1.0 cm | 11 cm
30 | 70 | 7.0 cm | 0.01 · 170 = 1.7 cm | 8.7 cm
50 | 50 | 5.0 cm | 0.01 · 220 = 2.2 cm | 7.2 cm
70 | 30 | 3.0 cm | 0.01 · 250 = 2.5 cm | 5.5 cm
80 | 20 | 2.0 cm | 0.01 · 270 = 2.7 cm | 4.7 cm
80 | 20 | 2.0 cm | 0.01 · 290 = 2.9 cm | 4.9 cm
⋮ | ⋮ | ⋮ | ⋮ | ⋮
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
1
t
0
100

## Slide 75
t
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm

## Slide 76
t
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
overdamped response

## Slide 77
t
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm

## Slide 78
t
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
underdamped response

## Slide 79
t
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm

## Slide 80
t
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
critically damped response

## Slide 81
process
(plant)
Σ
input
(set point)
+
-
output
feedback
Σ
proportional
integral
+
+
PI controller

## Slide 82
process
(plant)
Σ
input
(set point)
+
-
output
feedback
Σ
proportional
integral
derivative
+
+
+
PID controller

## Slide 83
t
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm

## Slide 84
t
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm

## Slide 85
t
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm

## Slide 86
t
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm

## Slide 87
t
0
100
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
1

## Slide 88
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
1
Speed [km/h] | e(t) | Kp·e(t) Kp=0.1 | Ki·Σe(t) Ki=0.018 | Kd·(e(t) - e(t-1)) Kd=0.1 | Sum
t
0
100

## Slide 89
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
1
Speed [km/h] | e(t) | Kp·e(t) Kp=0.1 | Ki·Σe(t) Ki=0.018 | Kd·(e(t) - e(t-1)) Kd=0.1 | Sum
0 | 100 | 10.0 cm | 1.8 cm | 0.1 · (100-100) = 0.0 cm | 11.8 cm
t
0
100

## Slide 90
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
1
Speed [km/h] | e(t) | Kp·e(t) Kp=0.1 | Ki·Σe(t) Ki=0.018 | Kd·(e(t) - e(t-1)) Kd=0.1 | Sum
0 | 100 | 10.0 cm | 1.8 cm | 0.1 · (100-100) = 0.0 cm | 11.8 cm
30 | 70 | 7.0 cm | 3.1 cm | 0.1 · (70-100) = -3.0 cm | 7.1 cm
t
0
100

## Slide 91
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
1
Speed [km/h] | e(t) | Kp·e(t) Kp=0.1 | Ki·Σe(t) Ki=0.018 | Kd·(e(t) - e(t-1)) Kd=0.1 | Sum
0 | 100 | 10.0 cm | 1.8 cm | 0.1 · (100-100) = 0.0 cm | 11.8 cm
30 | 70 | 7.0 cm | 3.1 cm | 0.1 · (70-100) = -3.0 cm | 7.1 cm
50 | 50 | 5.0 cm | 4.0 cm | 0.1 · (50-70) = -2.0 cm | 7.0 cm
t
0
100

## Slide 92
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
1
Speed [km/h] | e(t) | Kp·e(t) Kp=0.1 | Ki·Σe(t) Ki=0.018 | Kd·(e(t) - e(t-1)) Kd=0.1 | Sum
0 | 100 | 10.0 cm | 1.8 cm | 0.1 · (100-100) = 0.0 cm | 11.8 cm
30 | 70 | 7.0 cm | 3.1 cm | 0.1 · (70-100) = -3.0 cm | 7.1 cm
50 | 50 | 5.0 cm | 4.0 cm | 0.1 · (50-70) = -2.0 cm | 7.0 cm
70 | 30 | 3.0 cm | 4.5 cm | 0.1 · (30-50) = -2.0 cm | 5.5 cm
t
0
100

## Slide 93
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
1
Speed [km/h] | e(t) | Kp·e(t) Kp=0.1 | Ki·Σe(t) Ki=0.018 | Kd·(e(t) - e(t-1)) Kd=0.1 | Sum
0 | 100 | 10.0 cm | 1.8 cm | 0.1 · (100-100) = 0.0 cm | 11.8 cm
30 | 70 | 7.0 cm | 3.1 cm | 0.1 · (70-100) = -3.0 cm | 7.1 cm
50 | 50 | 5.0 cm | 4.0 cm | 0.1 · (50-70) = -2.0 cm | 7.0 cm
70 | 30 | 3.0 cm | 4.5 cm | 0.1 · (30-50) = -2.0 cm | 5.5 cm
80 | 20 | 2.0 cm | 4.9 cm | 0.1 · (20-30) = -1.0 cm | 5.9 cm
t
0
100

## Slide 94
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
1
Speed [km/h] | e(t) | Kp·e(t) Kp=0.1 | Ki·Σe(t) Ki=0.018 | Kd·(e(t) - e(t-1)) Kd=0.1 | Sum
0 | 100 | 10.0 cm | 1.8 cm | 0.1 · (100-100) = 0.0 cm | 11.8 cm
30 | 70 | 7.0 cm | 3.1 cm | 0.1 · (70-100) = -3.0 cm | 7.1 cm
50 | 50 | 5.0 cm | 4.0 cm | 0.1 · (50-70) = -2.0 cm | 7.0 cm
70 | 30 | 3.0 cm | 4.5 cm | 0.1 · (30-50) = -2.0 cm | 5.5 cm
80 | 20 | 2.0 cm | 4.9 cm | 0.1 · (20-30) = -1.0 cm | 5.9 cm
90 | 10 | 1.0 cm | 5.0 cm | 0.1 · (10-20) = -1.0 cm | 5.0 cm
t
0
100

## Slide 95
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
1
Speed [km/h] | e(t) | Kp·e(t) Kp=0.1 | Ki·Σe(t) Ki=0.018 | Kd·(e(t) - e(t-1)) Kd=0.1 | Sum
0 | 100 | 10.0 cm | 1.8 cm | 0.1 · (100-100) = 0.0 cm | 11.8 cm
30 | 70 | 7.0 cm | 3.1 cm | 0.1 · (70-100) = -3.0 cm | 7.1 cm
50 | 50 | 5.0 cm | 4.0 cm | 0.1 · (50-70) = -2.0 cm | 7.0 cm
70 | 30 | 3.0 cm | 4.5 cm | 0.1 · (30-50) = -2.0 cm | 5.5 cm
80 | 20 | 2.0 cm | 4.9 cm | 0.1 · (20-30) = -1.0 cm | 5.9 cm
90 | 10 | 1.0 cm | 5.0 cm | 0.1 · (10-20) = -1.0 cm | 5.0 cm
100 | 0 | 0.0 cm | 5.0 cm | 0.1 · (0-10) = -1.0 cm | 4.0 cm
t
0
100

## Slide 96
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
1
Speed [km/h] | e(t) | Kp·e(t) Kp=0.1 | Ki·Σe(t) Ki=0.018 | Kd·(e(t) - e(t-1)) Kd=0.1 | Sum
0 | 100 | 10.0 cm | 1.8 cm | 0.1 · (100-100) = 0.0 cm | 11.8 cm
30 | 70 | 7.0 cm | 3.1 cm | 0.1 · (70-100) = -3.0 cm | 7.1 cm
50 | 50 | 5.0 cm | 4.0 cm | 0.1 · (50-70) = -2.0 cm | 7.0 cm
70 | 30 | 3.0 cm | 4.5 cm | 0.1 · (30-50) = -2.0 cm | 5.5 cm
80 | 20 | 2.0 cm | 4.9 cm | 0.1 · (20-30) = -1.0 cm | 5.9 cm
90 | 10 | 1.0 cm | 5.0 cm | 0.1 · (10-20) = -1.0 cm | 5.0 cm
100 | 0 | 0.0 cm | 5.0 cm | 0.1 · (0-10) = -1.0 cm | 4.0 cm
100 | 0 | 0.0 cm | 5.0 cm | 0.1 · (0-0) = 0.0 cm | 5.0 cm
t
0
100

## Slide 97
set point: 100 km/h
assumption: 100 km/h with pedal at 5 cm
accelerator position: 0..10 cm
1
Speed [km/h] | e(t) | Kp·e(t) Kp=0.1 | Ki·Σe(t) Ki=0.018 | Kd·(e(t) - e(t-1)) Kd=0.1 | Sum
0 | 100 | 10.0 cm | 1.8 cm | 0.1 · (100-100) = 0.0 cm | 11.8 cm
30 | 70 | 7.0 cm | 3.1 cm | 0.1 · (70-100) = -3.0 cm | 7.1 cm
50 | 50 | 5.0 cm | 4.0 cm | 0.1 · (50-70) = -2.0 cm | 7.0 cm
70 | 30 | 3.0 cm | 4.5 cm | 0.1 · (30-50) = -2.0 cm | 5.5 cm
80 | 20 | 2.0 cm | 4.9 cm | 0.1 · (20-30) = -1.0 cm | 5.9 cm
90 | 10 | 1.0 cm | 5.0 cm | 0.1 · (10-20) = -1.0 cm | 5.0 cm
100 | 0 | 0.0 cm | 5.0 cm | 0.1 · (0-10) = -1.0 cm | 4.0 cm
100 | 0 | 0.0 cm | 5.0 cm | 0.1 · (0-0) = 0.0 cm | 5.0 cm
t
0
100
t
0
critically damped response

## Slide 98
process
(plant)
Σ
input
(set point)
+
-
output
feedback
Σ
proportional
integral
derivative
+
+
+
PID controller

## Slide 99
process
(plant)
Σ
input
(set point)
+
-
output
feedback
Σ
proportional
integral
derivative
+
+
+
PID controller
is known

## Slide 100
process
(plant)
Σ
input
(set point)
+
-
output
feedback
Σ
proportional
integral
derivative
+
+
+
PID controller
solve for
is known

## Slide 101
process
(plant)
Σ
input
(set point)
+
-
output
feedback
Σ
proportional
integral
derivative
+
+
+
PID controller
transfer function:
Y(s) = H(s)·X(s)
solve for
is known

## Slide 102
process
(plant)
Σ
input
(set point)
+
-
output
feedback
Σ
proportional
integral
derivative
+
+
+
PID controller
is unknown

## Slide 103
process
(plant)
Σ
input
(set point)
+
-
output
feedback
Σ
proportional
integral
derivative
+
+
+
PID controller
is unknown
t
output

## Slide 104
process
(plant)
Σ
input
(set point)
+
-
output
feedback
Σ
proportional
integral
derivative
+
+
+
PID controller
is unknown
t
output
0
0

## Slide 105
process
(plant)
Σ
input
(set point)
+
-
output
feedback
Σ
proportional
integral
derivative
+
+
+
PID controller
is unknown
t
0
0
output

## Slide 106
process
(plant)
Σ
input
(set point)
+
-
output
feedback
Σ
proportional
integral
derivative
+
+
+
PID controller
is unknown
t
output
0

## Slide 107
process
(plant)
Σ
input
(set point)
+
-
output
feedback
Σ
proportional
integral
derivative
+
+
+
PID controller
is unknown
t
output

## Slide 108
k_p = 1 # Tune this
k_i = 0 # Tune this
k_d = 0 # Tune this
interval = 0.001 # e.g. 1 ms
# Loop forever
error_prev = 0
integral = 0
while True:
# Get value from sensor (feedback)
val = read_from_sensor()
# Calculate the PID terms
error = setpoint – val
integral = integral + (error * interval)
derivative = (error – error_prev) / interval
output = (k_p * error) + (k_i * integral) + (k_d * derivative)
# Save value for next iteration
error_prev = error
# Wait for interval time
sleep(interval)